## Engines
Qty | Make | Model | ESN | Rating | Notes |  | Comments | Size
1 | Caterpillar | 3516 - Industrial | 27Z00905 | 1755bhp@1500rpm | New |  |  | 69,000cc
6 | Caterpillar | C7.1 | KRJ01400…600.4457CY | 187.5kw@1500rpm | Mechanical fuel inj |  |  | 7,100cc
226 | Caterpillar | C7.1 | KRJ03016…600.5519CY | 160kw@1800rpm | Mechanical fuel inj | Arriving Aug/Sept |  | 7,100cc
1 | Caterpillar | C4.4 | 594-1186 2W220651 | 108kw@2000rpm | Industrial Spec - NEW |  |  | 4,400cc
1 | Caterpillar | C4.4 | 591-9065 2W233955 | 74.5kw22200rpm | Industrial Spec - NEW |  |  | 4,400cc
1 | Caterpillar | C3.8 | Kubota V3800-CR-T-EF03 | 72kw@2400rpm | 2015 EPA |  |  | 3,800cc
1 | Caterpillar | C3.8 | Kubota V3800-CR-T-EF03 | 72kw@2400rpm | 2015 EPA | some parts missing |  | 3,800cc
1 | Cummins | QSK23/G7 | 85017013 CPL 4594 | 1220BHP @ 1800RPM | EPA |  |  | 23000cc
1 | Cummins | QSG12/cm2350 | 76275733 CM2350 CPL 5243 | 450bhp@1800rpm | CM2350 | Foton |  | 12,000cc
1 | Cummins | QSG12 | 76237420 CPL 4459 | 335@2100rpm | TIER 4 F EPA approved | CM2350 | NL | 12,000cc
1 | Cummins | ISL9E6/320 (GAS) | 99015977 CPL 5753 | 239KW@2000RPM | EURO 6 | 12 valve head (like 6CT) |  | 8,900cc
1 | Cummins | ISL300 | 82312413 CPL 1480 | 300bhp@2200rpm | MECHANICAL INJ |  | MEP Stage 2 certified | 8,900cc
1 | Cummins | ISL300 | 82312411 CPL 1480 | 300bhp@2200rpm | MECHANICAL INJ |  | MEP Stage 2 certified | 8,900cc
1 | Cummins | QSB6.7 | 22669397 SO 37431 | 173bhp@2200rpm |  | EPA OK |  | 6,700cc
1 | Cummins | QSF3.8 | 22697423 | 134bhp@2500rpm |  | EPA OK |  | 3,800cc
1 | Cummins | QSF3.8 | 22702972 CPL 4142 | 130bhp@220rpm |  | EPA OK |  | 3,800cc
1 | Cummins | QSF3.8VPI | 22703459 CPL 6364 | 74bhp@2500rpm |  | EPA OK |  | 3,800cc
1 | Cummins | 4BTAA3.3-G12 | 72025612 CPL 4865 | 99bhp@1800rpm | Komatsu SAA4D95LE-6 | NEW |  | 3,300cc
1 | Cummins | 4BTAA3.3-G14 | 72060685 CPL 4479 | 84bhp@1500rpm | Komatsu SAA4D95LE-6 | Fire Pump Spec | (Has been test run) | 3,300cc
4 | Cummins | 4BTAA3.3-G13 | 72054612 CPL 4479 | 84bhp@1500rpm |  |  |  | 3,300cc
1 | Cummins | ISF2.8 | 89000054 CPL 42083 | 105kw@2600rpm | NEW |  |  | 2,800cc
1 | Cummins | ISF2.8 | 89502771 CPL 3409 | 96kw@3200rpm | CM2220 |  | EPA | 2,800cc
1 | Hino | E13-CUN | USED Complete Engine | 11954 | USED |  |  | 13,000cc
3 | Kubota | V2403 | V2403-CR-T-EF02 | 47.9kw@2700rpm | EPA and California compliant |  | EPA | 2,400cc
1 | Iveco | N60 | N60ENTF40 484875 | 400bhp | Fire Pump spec |  | Fire Pump Spec | 6,000cc
1 | Iveco | N60 | 1685606/F4AFE611-818 | 220bhp@2200rpm | CNH spec |  | Factory Recon | 6,000cc
2 | JCB | 672 Power Packs | EE320/41397 and 40943 | 187kw@1500 or 1800rpm | Power Packs |  | Power Packs | 7,200cc
1 | JCB | 448TCAG-12 | DK320/40592U1640018 | 121kw@1500 or 1800rpm | Power Pack |  |  | 4,400cc
1 | JCB | 448TCAG-12 | DK320/40592U979018 | 121kw@1500 or 1800rpm | Power Pack |  |  | 4,400cc
2 | JCB | 448TA5-129 | DP320/41729U0830821 | 129kw@2200rpm | With exhaust systems Power Pack | DEX |  | 4,400cc
1 | JCB | 672TAG2G-187 | EK320/40943U3415321 | 187kw@1500 or 1800rpm |  |  |  | 6,700cc
1 | JCB | 672TAG2G-187 | EK320/40943U2241217 | 187kw@1500 or 1800rpm | missing turbo |  |  | 6,700cc
1 | JCB | 672TAG2G-187 | EK320/40943U0354719 | 187kw@1500 or 1800rpm | missing turbo |  |  | 6,700cc
1 | JCB | 672 | 6W14K72A8 |  | USED |  |  | 6,700cc
1 | JCB | 672TAG2G-187 | EK320/40943U1190419 | 187kw@1500 or 1800rpm |  |  |  | 6,700cc
1 | JCB | 672TAG2G-187 | EK320/40943U1794619 | 187kw@1500 or 1800rpm |  |  |  | 6,700cc
1 | JCB | 672TA3G-187 | EE320/41620 U4242018 | 187kw@1500 or 1800rpm
1 | JCB | 672TA2G-187 | EK320/40943U0895717 | 187kw@1500 or 1800rpm
1 | JCB | 672TA2G-187 | EK320/40943 U2559321 | 187kw@1500 or 1800rpm
1 | Komatsu | SA12V170E-2 | 10142-L9 R9 | 1150bhp@1800rpm | D575A Dozer spec |  | Factory Reconditioned Units | 46,000cc
1 | Komatsu | SA12V170E-2 | 10210-L8 R8 | 1150bhp@1800rpm | D575A Dozer spec |  | Factory Reconditioned Units | 46,000cc
1 | Komatsu | SA6D108-1 | 39776 | 229bhp@2200rpm | EPA APPROVED | NL
17 | Komatsu | S4D106T | Power Packs | 70/80bhp@1500/1800rpm | Power Packs | Water Cooled Diesel |  | 4,400cc
1 | Komatsu | SAA4D95LE | 72025612 CPL 4865 | 99bhp@1500rpm |  |  |  | 3,260cc
1 | Komatsu | SAA4D95LE | 72060685 CPL 4479 | 84bhp@1500rpm | Fire Pump Spec (test run) |  |  | 3,260cc
1 | Kubota | WG972-G-EF | S121975 | 24kw@3600rpm | New - Gas EPA approved |  |  | 962cc
22 | KOHLER | Kdi 1903TCR/26 |  | 36000KW | EPA APPROVED |  | EPA | 1,900cc
1 | Lister/Petter | TS2 | 4400285 TS2A901 | 29bhp@2900rpm | Fire Pump
1 | Lombardini | 15LD350 | 4323900932 | 2400rpm | Aircooled pull start |  |  | 350cc
1 | Mitsubish | 8DC2T | V8 twin turbo factory recon | 300bhp@1800rpm | Downrated |  | Will make 440bhp | 16,030cc
40 | Mitsubishi | 8DC2T | V8 twin turbo factory recon | 300bhp@1800rpm | Shop soiled but all good |  | Will make 440bhp | 16,030cc
1 | Nissan | ZD30 | 031065K | Industrial Spec |  |  |  | 3000cc
1 | Nissan | ZD30 | 028705K | Industrial Spec |  |  |  | 3000cc
1 | Nissan | ZD30 | 029385K | Industrial Spec |  |  |  | 3000cc
1 | Perkins | 4016-61 TRS2 | DIJR8839U12629B | 1042kw@1500rpm | Factory Recon (GAS) |  |  | 61,000cc
2 | Perkins | 1106D-E70TA | PW82792R020996R/997E | 130kw@2500rpm | Power Packs |  |  | 7,100cc
1 | Perkins | 1106D-E70TA | PW82792R020998E | 168kw@2200rpm | Power Pack |  |  | 7,100cc
34 | Perkins | 1106A-70T | PP82929B…. | 160kw@1800rpm | Mechanical Fuel Inj | Blue Colour | Arriving Aug/Sept | 7,100cc
5 | Perkins | 1106A-70T | PP83277B…. | 160kw@1800rpm | Mechanical Fuel Inj | Yellow colour | Arriving Aug/Sept | 7,100cc
18 | Perkins | 1104A-44T | RS60144B…. | 94.5kw@1800rpm | Power Packs, Mech Fuel Inj | Blue Colour |  | 4,400cc
10 | Perkins | 1204J-E44TA | ST85149R000805K | 102kw@2200rpm | Tier 5 and EPA | Power Packs |  | 4,400cc
9 | Raywin | 4D24G4/A | various | 18.5kw@1500rpm | Power Packs | Water Cooled Diesel | will make 33kw@2400rpm | 2,450cc
2 | SISU | 66CTA | u09588/09589 | 125kw@2200rpm
1 | Volvo | G13C (Diesel and Gas) | G13*2092926*K5*A | 460bhp | Euro 5 | 1500kms from new | truck spec | 12,800cc
12 | Yanmar | 2TNV70-HE | Engine Only | 8.5/10kw@3000/3600rpm | Power Packs | Water Cooled Diesel |  | 570cc
31 | Yanmar | 3TNV76-GGEA | Power Packs | 9/10.7kw@1500/1800rpm | Power Packs | Water Cooled Diesel |  | 1,115cc
51 | Yanmar | 4TNV84T-BKVX | Power Packs | 29kw@2800rpm | Power Packs | Water Cooled Diesel |  | 1,500cc
7 | Yanmar | 4TNV88-GGEAS | Power Packs | 19kw@1500rpm | Stage 5 Power Packs | Water Cooled Diesel |  | 2,190cc
5 | Yanmar | 4TNV98-GGEA | Power Packs | 40/48bhp@1500/1800rpm | Power Packs | Water Cooled Diesel |  | 3,300cc
30 | Yanmar | 4TNV98T-GGEA | Power Packs | 50/60bhp@1500/1800rpm | Power Packs | Water Cooled Diesel |  | 3,300cc
17 | Yanmar | 4TNV106T-GGEA | Power Packs | 70/80bhp@1500/1800rpm | Power Packs | Water Cooled Diesel |  | 4,400cc
(same as Komatsu 4D106T)

## Generator Sets (hidden)
ALL NEW
Qty | Model | Make | Kva | Open/Canopy | Engine | Alternator | Dim's | Price each (£) | Price Each
US Dollars
5 | KDG0500P1 | Kohler | 500 | SDMO Canopy | Volvo TAD1651GE | Stamford HCI544V1 | 560x165x250cms, 6000kgs | 50000 | 66500
1 | KDG0600P1 | Kohler | 600 | SDMO Canopy | Volvo TAD1652GE | Stamford | 650x200x265cms, 7500kgs | 57500 | 76475
1 | KDG0650P1 | Kohler | 650 | SDMO Canopy | Volvo TAD1653GE | Stamford | 650x200x265cms, 7500kgs | 62500 | 83125
1 | GP250 | Doosan | 225kva/50hz | Silent Canopy | Doosan P126T-1 | Mecce Alte ECO38-354 | 380x120x200cms, 3400kgs | 13500 | 18500
|  |  | 270kva/60hz |  | (11 litres 370bhp)
2 | USED | Rolls Royce | 187 | Open | Rolls 6 cyl "C" | Stamford | 320x115x200cms | 2750 | 3657.5 | LOW HOURS

## Radiators (hidden)
Radiator kits
Qty | Part Number | Description | Product Emission Level | Price Each | Price Each | Application.
USD Dollars
5 | A050X151 | RADIATOR,ASSY - HRA3538 | QSB6.7 194 kW 2200 rpm T4F | 1000 | 1330 | QSB6.7
3 | A054S178 | RADIATOR,ASSY - HRA3554 | QSB 6.7 224-205kW T4F | 1000 | 1330 | QSB6.7
1 | A045D193 | RADIATOR,ASSY - HRA3510 | QSB6.7 194 kW 2200 rpm T4i | 1000 | 1330 | QSB6.7
2 | A050K031 | RADIATOR,ASSY - HRA3537 | QSB 6.7 168 Kw 2200rpm T4F | 1000 | 1330 | QSB6.7
2 | A065N481 | RADIATOR,ASSY - HRA3583 | QSF3.8 55kW@2500rpm T4F | 750 | 997.5 | QSF3.8
1 | A065N481 | RADIATOR,ASSY - HRA3583 | QSF3.8 55kW@2500rpm T4F | 750 | 997.5 | QSF3.8
1 | A058L843 | RADIATOR | QSF3.8 | 750 | 997.5 | QSF3.8
2 | A057B076 | RADIATOR,ASSY - HRA3560 | QSL9 261kW@2100rpm T4F | 900 | 1197 | QSL9
3 | A055M176 | RADIATOR,ASSY - HRA3552 | QSL9 283kW@1800 rpm T4F | 900 | 1197 | QSL9
2 | 3838.075 | RADIATOR ASSY | QSB6.7 | 1000 | 1330 | QSB6.7
1 |  | RADIATOR ASSY | 250kva ex Boudain | 750 | 997.5
1 | 3811715 | Radiator (C13) | C13 | 2500 | 3325 | SB
5 | Mitsubishi | 9 Ltr rad with oil cooler | cooler inter cooler | 1000 | 1330
1 | Deutz V8 | Radiator - non intercooler | Bearward 56271-1267/1237 | 750 | 997.5
1 | Iveco N67 | Radiator and intercooler assy | Iveco part no.8044662 | 750 | 997.5

## New Cat Spares (hidden)
Prices are UK Pounds
Qty | Part Number | Description | Application | Price Each (£)
UK Pounds
New Blocks
2 | 487-8729 | New cylinder block | C15 | 2500 | blemished | SOLD RC 9.7.25
17 | 582-5311 | New cylinder block | C13 (582.1629) | 2500 | blemished
1 | 200.2052 | New cylinder block | C12 | 2500

## Cummins and Caterpillar parts (hidden)
Qty | Part Number | Description | Application | Price (£) Each | Price Each | Notes
|  |  |  | UK Pounds | US Dollars
18 | 3968902 | Cylinder head assy | 6CT8.3 | 550 | 731.5
1 | 5529509 | Cylinder head assy | ISL9 | 550 | 731.5
54 | 4897355 (4896361) | Cylinder blocks | ISBe5.9/Iveco | 700 | 931
3 | 4989699 | Cylinder Head | ISBe5.9/Iveco | 425 | 565.25
9 | 3991773 | Cylinder Head | ISBe5.9/Iveco | 425 | 565.25
1 | 4981623 | Cylinder Head | ISBe5.9/Iveco | 425 | 565.25
28 | 4981626 | Cylinder Head | ISBe5.9/Iveco | 425 | 565.25
6 | 4936081 | Cylinder Head | ISBe5.9/Iveco | 425 | 565.25
41 | 4899598 | Cylinder Head | ISBe5.9/Iveco | 425 | 565.25
8 | 3967444 | Cylinder Head | 4BT3.9 | 250 | 332.5
14 | 3967451 | Cylinder Head | 4BT3.9 | 250 | 332.5
2 | 3967451 | Cylinder Head | 4BT3.9 | 250 | 332.5
92 | 3967434 | Cylinder Head | 4BT3.9 | 250 | 332.5
52 | 3979506 | Cam Shafts | ISBe6.7 | 125 | 166.25 | ISBe6.7
1 | 4066514 | Fuel control module | QSK60 | 275 | 365.75 | QSK60
1 | 4328041 | Fuel warmer | QSK50/KE50 | 250 | 332.5 | KE50/QSK50 | Fleetguard FH2390301
1 | FFH30520 | Finn Filter (twin) | FFH-30520 | 175 | 232.75 | 10 bar | Element FFH10520
9 | 3641570RX | Cyl head assy | QSK60 | 475 | 631.75 | QSK60
8 | Cummins | Block warmers |  | 225 | 299.25
82 | 5396613 | Hydraulic Pumps |  | 40 | 53.2
4 | 5339231 | Air Compressors |  | 40 | 53.2
Caterpillar Exhaust DPF's
32 | 3647147 | Exhaust DPF | C4.4 | 800 | 1064
4 | 4700244 | Exhaust DPF | C7.1 | 1000 | 1330
1 | 5298482 | Exhaust DPF | C9.3 | 1250 | 1662.5
1 | 5652268 | Exhaust DPF | C9.3 | 1250 | 1662.5
1 | 3945307 | Exhaust DPF | C9.3 | 1250 | 1662.5
1 | 3945358 | Exhaust DPF | C9.3 and C13 ? | 1500 | 1995
1 | 5455472 | Exhaust DPF | C13 | 1500 | 1995
1 | 5455474 | Exhaust DPF | C13 | 1500 | 1995
1 | 5455475 | Exhaust DPF | C13 | 1500 | 1995
1 | 3945335 | Exhaust DPF | C13 | 1500 | 1995
Cummins Exhaust DPF's
20 | 300789A | Exhaust DPF's |  | 675 | 897.75
5 | 205209A | Exhaust DPF's | QSB4.5/160bhp | 675 | 897.75
1 | A029M752 | Exhaust DPF's |  | 675 | 897.75
2 | 527063300 | Exhaust DPF's | QSB4.5/160bhp | 675 | 897.75
JCB Ad Blue Pumps
8 | 320/A9101 | Ad Blue Pumps | 0444.110.009 | 200 | 266
(Bosch)
Control Panels
5 | Caterpillar | 526-0670 | Control panel | 250 | 332.5
3 | Caterpillar | 543-3607 | Control panel | 250 | 332.5
6 | Perkins | T402795 | Control panel | 250 | 332.5
9 | Perkins | T402794 | Control panel | 250 | 332.5
5 | Westfalia | Lube Oil Seperator 1kg/DM3 | OSD18-0196-067/15 | 6500 | 8645
3 | Westfalia | Lube Oil Seperator 1.4kg/DM3 | OSD35-0196-067/20 | 5500 | 7315
1 | ZF4WG-180 | Drop Box for Case Loader | 4644.004.143 | 800 | 1064

## TURBOCHARGERS (hidden)
f | Part No. | Part No. | Model | Application | Part No. | Price Each (£) | Total (£) | Price each
US Dollars
1 | 2834165 |  | HX40W |  |  | 275 | 275 | 365.75
26 | 2835039 | 2835040 | HX55W | Iveco | 0504.299.9760 | 450 | 11700 | 598.5 | Was 26
2 | 2836658 |  | HX50W | Iveco | Cursor 13 | 450 | 900 | 598.5
27 | 2837437 | 4044987(?) | HX40W | Wuxi Diesel | 1118010-623-00 | 275 | 7425 | 365.75 | Was 10
1 | 3529032 |  | BHT3B |  |  | 300 | 300 | 399
1 | 3530071 | 3530070 | WH2D | Cummins |  | 275 | 275 | 365.75
12 | 3539601 |  | HX50M | Marine | 14 litre | 650 | 7800 | 864.5
5 | 3770155 | 3770146 | HE531Ve | Scania | 2033795-151509 | 650 | 3250 | 864.5 | Was 7
6 | 3787493 | 3787491 | HE500VG | Scania |  | 650 | 3900 | 864.5 | Was 10
2 | 4032053 |  | HX50 | Scania | DS11 | 450 | 900 | 598.5
1 | 4032343 |  | HX50 |  |  | 450 | 450 | 598.5
2 | 4033213 |  | HX40W | 6CT8.3 |  | 275 | 550 | 365.75
1 | 4033525 |  | HE400VG |  |  | 550 | 550 | 731.5
1 | 4042224 | 4047227 | HE531Ve | Volvo | 12 litre | 650 | 650 | 864.5 | Was 7
18 | 4047223 | 4047224 | HE531Ve | Volvo | 20737790 | 650 | 11700 | 864.5
4 | 3787493 |  | HE500VG | Scania | 2191700 | 650 | 2600 | 864.5 | Was 10
16 | 3787496 | 2191617 | HE500VG | Scania |  | 650 | 10400 | 864.5
12 | 4032081 |  | HX50W
9 | 3770154 |  | HE531VE
10 | 3785489 | 3785487 | HE200VG | QSF4.5 |  | 250 | 2500 | 332.5
3 | 3797058 | 3784830 | HE800FG/HX83 | QSV91 |  | 850 | 2550 | 1130.5
12 | 3797810 | 3705786 | HE800FG/HX83 | QSV91 |  | 850 | 10200 | 1130.5 | Was 13
16 | 5500538 |  | HE300WG | QSL9 |  | 400 | 6400 | 532
8 | 5500550 |  | HE400WG | QSL9 |  | 400 | 3200 | 532
7 | 5500543 |  | HE300WG | QSL9 |  | 300 | 2100 | 399
4 | 5500556 |  | HE400WG | QSL9 |  | 400 | 1600 | 532
3 | 5500547 |  | HE400WG | QSL9 |  | 400 | 1200 | 532
3 | 5500537 |  | HE300WG | QSL9 |  | 300 | 900 | 399
72 | 5329781 |  | HX40W |  |  | 275 | 19800 | 365.75
8 | 4040571 |  | HE221W | QSB4 |  | 225 | 1800 | 299.25
|  | New Stock | 31st March | TURBOS
9 | 3786854 | 6517060 | HE500WG | Volvo 13 litre |  | 450 | 4050 | 598.5
15 | 4033387 |  | HX25W | Iveco 4 cyl |  | 225 | 3375 | 299.25
1 | 4033068 |  | HX35 |  |  | 250 | 250 | 332.5
1 | 3538453 | (260bhp) | HX35 | 6BT5.9 Marine |  | 300 | 300 | 399
2 | 4031274 | 5699043 | HE500WG | Scania DLC |  | 450 | 900 | 598.5
1 | 4044325 | 4955691 | HX35W | Cummins QSB |  | 275 | 275 | 365.75
1 | 3596943 |  | HX40 | Cummins 6CTA |  | 275 | 275 | 365.75
1 | 4033378 |  | HX35W | Iveco 6 cyl |  | 275 | 275 | 365.75
1 | 4033391 | 2835415 | HX40W | Cummins ISLe |  | 275 | 275 | 365.75
10 | 3597938 |  | HX25W | Iveco 4 cyl |  | 225 | 2250 | 299.25
1 | 4031273 | 2484276 | HE500VG | Scania DP16 |  | 575 | 575 | 764.75
2 | 4031206 |  | HE400VG | Mack |  | 550 | 1100 | 731.5
2 | 4031166 | 2837072 | HE500FG | Volvo MD11 |  | 450 | 900 | 598.5
12 | 5455908 |  | HE250 |  |  | 225 | 2700 | 299.25
6 | 4035413 | 3501176 | HC3 | KTA19 |  | 450 | 2700 | 598.5
5 | 2835775 | 3594182 | HX82 | Volvo 13 litre |  | 550 | 2750 | 731.5
5 | 3594108 | 3594107 | HT80 | QST30 |  | 550 | 2750 | 731.5
5 | 3594105 |  | HC5A | KTA50 |  | 550 | 2750 | 731.5
24 | 2839423 |  | HX40W | 6CT8.3/QSL9 |  | 275 | 6600 | 365.75
24 | 4047750 |  | HE221W | ISBe4.5 |  | 225 | 5400 | 299.25
|  | New Stock 9th May |  | TURBOS
5 | 3591283 | 3591287 | HX82-A | Wartsila 16W180 |  | 550 | 2750 | 731.5 | MD
5 | 4040809 | 4040812 | HX83-C | QSK78 G drive |  | 550 | 2750 | 731.5 | MD
2 | 4035941 | 4035944 | HX83-F | QSV91 G drive |  | 550 | 1100 | 731.5 | MD
1 | 4041702 | 4041702 | HX82 | QSK19 construction |  | 550 | 550 | 731.5 | MD
3 | 3774223 | 3599341 | HX82 | QSK60 G drive |  | 550 | 1650 | 731.5 | MD
1 | 4047336 | 4047338 | HX82 | QSK50 G drive |  | 550 | 550 | 731.5 | MD
7 | 2843371 | 4040810 | HX83 | QSK78 G drive |  | 550 | 3850 | 731.5 | MD
2 | 3593232 | 3593232 | HX82-H | QSK45 G drive |  | 550 | 1100 | 731.5 | MD
2 | 3591932 | 4033013 | HX82 | Wartsila 18W180 |  | 550 | 1100 | 731.5 | MD
1 | 3774210 | 4033045 | HX82 | QSK50-G4 G drive |  | 550 | 550 | 731.5 | MD
29
|  | Scania/Volvo |  | 28th July 2025
59 | 3786452 | 5452952 | HE500WG | Scania boxed 5452954 |  | 450 | 26550 | 598.5 | Scania DLC6 truck | 25 = Holset boxes
15 | 4031102 | 3782535 | HE500WG | Holset boxed |  | 450 | 6750 | 598.5 | Scania DLC6 truck/360bhp
22 | 4031274 | 5494652 | HE500WG | Scania boxed 5494653 |  | 450 | 9900 | 598.5 | Scania (Renault truck and bus)
23 | 4031114 | 3788475 | HX52 | Holset boxed |  | 425 | 9775 | 565.25 | Scania truck
4 | 4031152 | 3769429 | HX40W | Volvo D9/340bhp |  | 275 | 1100 | 365.75 | Volvo D9
5 | 4031008 | 5554265 | HE400VG | Holset boxed 5355490 |  | 675 | 3375 | 897.75 | Volvo MD16/ Mack
1 | 4031186 | 5501954 | HE500WG | Holset boxed |  | 450 | 450 | 598.5 | Volvo MD11
129
|  | New Stock |  | 5th August 2025
Qty | Part No | Part No | Type | Application
28 | 2835420 |  | HX40W | ISL9 |  | 275 |  | 371.25
3 | 2835422 |  | HX40W | ISLe |  | 275 |  | 371.25
29 | 2839311 |  | HX40W | QSL9 |  | 275 |  | 371.25
2 | 2840571 |  | HX40W | QSL9 |  | 275 |  | 371.25
8 | 3595508 |  | HX40W | 6CT-G2 |  | 275 |  | 371.25
6 | 3596990 |  | HX35W | 6BT5.9 |  | 250 |  | 337.5
8 | 3598544 |  | HX30W | 4BT3.9 |  | 225 |  | 303.75
26 | 3599601 |  | HX40W | 6CT8.3 |  | 275 |  | 371.25
2 | 3789645 |  | HE300VG | QSL9 |  | 450 |  | 607.5
2 | 3793737 |  | HE300VG | QSB |  | 450 |  | 607.5
1 | 3793749 |  | HE300VG | QSB |  | 450 |  | 607.5
3 | 3793767 |  | HE300VG | QSB |  | 450 |  | 607.5
2 | 3793782 |  | HE300VG | QSB |  | 450 |  | 607.5
2 | 3793785 |  | HE300VG | QSB |  | 450 |  | 607.5
2 | 4038537 |  | HX40W | QSC |  | 275 |  | 371.25
4 | 4039963 |  | HX35W | QSB |  | 250 |  | 337.5
2 | 4040472 |  | HX40W | QSC |  | 275 |  | 371.25
3 | 4040575 |  | HE221W | QSB |  | 225 |  | 303.75
2 | 4040575 |  | HE221W | QSB |  | 225 |  | 303.75
1 | 4040577 |  | HX40W | QSL9 |  | 275 |  | 371.25
10 | 4042667 |  | HX35W | 6BT/QSB |  | 250 |  | 337.5
20 | 4043951 |  | HE221W | QSB4.5 |  | 225 |  | 303.75
34 | 5300978 | 49389-03570 | TD04HL4SC | QSB4.5 Tier 4 | Mitsubishi Turbo | 300 |  | 405
10 | 5326267 |  | HE200VG | QSB4.5 |  | 300 |  | 405
2 | 5328087 |  | HE300VG | ISL9 |  | 450 |  | 607.5
2 | 5328706 |  | HE300VG | QSL9 |  | 450 |  | 607.5
35 | 5328971 |  | HE200VG | QSB4.5 |  | 300 |  | 405
2 | 5352063 |  | HE221W | QSB5 |  | 225 |  | 303.75
10 | 5460650 |  | HE300VG | QSB |  | 450 |  | 607.5
20 | Schwitzer | 5326.988.6497 | water cooled | Volvo TAMD41 | Marine | 325 |  | 440
1 | 3032060 |  | ST50 | NT855 | Take-off condition | 150 |  | 200
1 | 3011264 |  | HT3B | NT855 / N14 | Take-off condition | 150 |  | 200
1 | 3537074 |  | HT60 | N14 and Volvo | Take-off condition | 200 |  | 275
1 | No tag |  | ? |  |  | 100 |  | 135
12 | 4036885 | 4036886 | HX82 | QSK19 | Take-off condition | 200 |  | 275
4 | 3780874 | 4309261RX | HE800FG | QSV91-Gas Gen Set | Take-off condition | 200 |  | 275
1 | 3599238 | 4089318 | HX82-D | QSK19 | Take-off condition | 200 |  | 275
21

## Cat engines arriving soon (hidden)
New Qty | Type | Description | Typical ESN | Arrangement No. | Rating | Price Each (£) | Price Each
US Dollars
34 | 1106A-70T | Engine | PP82929B… | 470.5950BL | 160kw@1800rpm | 6000 | 7980
5 | 1106A-70T | Engine | PP83277B… | 470.5950CY | 160kw@1800rpm | 6000 | 7980
10 | C7.1 | Engine | KRJ01400 | 600.4457CY | 187.5kw@1500rpm | 6000 | 7980
226 | C7.1 | Engine | KRJ03016 | 600.5519CY | 160kw@1800rpm | 6000 | 7980
18 | 1104A-44T | Power Pack | RS60144B | 362.6712BL | 94.5kw@1800rpm | 3750 | 4987.5
293

## Cummins Fuel Pumps and turbos (hidden)
Qty | Part No. | Description |  |  | Price Each (£) | Price Each ($)
[5 empty] | UK Pounds | US Dollars
7 | 3283291 | Bosch 4 Cylinder Fuel Pumps | F002.AOZ.051 |  | 265 | 352.45
5 | 4063926 | Zexel 4 Cylinder Fuel Pumps | F01G.000.00A | Komatsu 6737-71-1140 | 265 | 352.45
203 | 3928603 | Fuel Injection Pumps | 4BT3.9 | Zexel F01G00001A260 | 265 | 352.45
(110bhp@2200rpm)

## spare page (hidden)
Qty | Part No | Part No | Type | Description
35 | 5328971 |  | HE200VG | QSB4.5
34 | 5300978
29 | 2839311 |  | HX40W | QSL9
10 | 5460650 |  | HE300VG | QSB
26 | 3599601 |  | HX40W | 6CT8.3
28 | 2835420 |  | HX40W | ISL9
10 | 5326267 |  | HE200VG | QSB4.5
10 | 4042667 |  | HX35W | 6BT/QSB
20 | 4043951 |  | HE221W | QSB4.5
2 | 5328706 |  | HE300VG | QSL9
3 | 3793767 |  | HE300VG | QSB
2 | 3793785 |  | HE300VG | QSB
2 | 3793737 |  | HE300VG | QSB
8 | 3595508 |  | HX40W | 6CT-G2
2 | 3793782 |  | HE300VG | QSB
2 | 3789645 |  | HE300VG | QSL9
2 | 5328087 |  | HE300VG | ISL9
6 | 3596990 |  | HX35W | 6BT5.9
8 | 3598544 |  | HX30W | 4BT3.9
4 | 4039963 |  | HX35W | QSB
1 | 3793749 |  | HE300VG | QSB
2 | 5352063 |  | HE221W | QSB5
2 | 4038537 |  | HX40W | QSC
2 | 4040472 |  | HX40W | QSC
3 | 2835422 |  | HX40W | ISLe
1 | 4040577 |  | HX40W | QSL9
2 | 2840571 |  | HX40W | QSL9
3 | 4040575 |  | HE221W | QSB
2 | 4040575 |  | HE221W | QSB

## spare 3 (hidden)
Qty | Part No | Part No | Type | Description
28 | 2835420 |  | HX40W | ISL9
3 | 2835422 |  | HX40W | ISLe
29 | 2839311 |  | HX40W | QSL9
2 | 2840571 |  | HX40W | QSL9
8 | 3595508 |  | HX40W | 6CT-G2
6 | 3596990 |  | HX35W | 6BT5.9
8 | 3598544 |  | HX30W | 4BT3.9
26 | 3599601 |  | HX40W | 6CT8.3
2 | 3789645 |  | HE300VG | QSL9
2 | 3793737 |  | HE300VG | QSB
1 | 3793749 |  | HE300VG | QSB
3 | 3793767 |  | HE300VG | QSB
2 | 3793782 |  | HE300VG | QSB
2 | 3793785 |  | HE300VG | QSB
2 | 4038537 |  | HX40W | QSC
4 | 4039963 |  | HX35W | QSB
2 | 4040472 |  | HX40W | QSC
3 | 4040575 |  | HE221W | QSB
2 | 4040575 |  | HE221W | QSB
1 | 4040577 |  | HX40W | QSL9
10 | 4042667 |  | HX35W | 6BT/QSB
20 | 4043951 |  | HE221W | QSB4.5
34 | 5300978
10 | 5326267 |  | HE200VG | QSB4.5
2 | 5328087 |  | HE300VG | ISL9
2 | 5328706 |  | HE300VG | QSL9
35 | 5328971 |  | HE200VG | QSB4.5
2 | 5352063 |  | HE221W | QSB5
10 | 5460650 |  | HE300VG | QSB